|  |  |  |
| --- | --- | --- |
| **FIRE SAFETY CHECKLIST - DWELLINGS & BUILDINGS** | | |
| **Name of Occupant** | **Dwelling Type (ie: single family dwelling)** | **Inspection Date & Time** |
| **Building Address** | **Town/Community** | |
| **Property Manager / Landlord:** | **Contact Person for Inspection** | **Contact Phone No.** |
| **Type of Inspection** | **Inspector Name** | **Last Inspection Date** |

|  |  |  |  |
| --- | --- | --- | --- |
| **INSPECTION OBSERVATIONS** | **Meets MB Fire Code** | | |
| **Yes** | **No** | **N/A** |
| **GENERAL** |  |  |  |
| Combustible materials are not permitted to accumulate in quantities or locations that will constitute an undue fire hazard. |  |  |  |
| Approved smoke alarm installed on every level. |  |  |  |
| Smoke alarms are inspected, tested and maintained in operating condition. |  |  |  |
| Smoke alarms are interconnected. |  |  |  |
| Heat detector installed in attached garage & interconnected to smoke alarms. |  |  |  |
| Approved carbon monoxide alarm installed on every level. |  |  |  |
| Carbon monoxide alarms are inspected, tested and maintained. |  |  |  |
| Dwelling has a multi-purpose (ABC) fire extinguisher. |  |  |  |
| Family has a fire safety plan. |  |  |  |
| Family practices an emergency exit plan. |  |  |  |
| Emergency phone numbers are posted. |  |  |  |
| Means of egress are maintained in good repair and free of obstructions. |  |  |  |
| Bedroom windows are not obstructed and can be easily opened. |  |  |  |
| Household chemicals are stored away from children. |  |  |  |
| Matches and lighters are out of reach of children. |  |  |  |
| Large ashtrays are present where smoking may occur. |  |  |  |
| Flammable liquids are not stored in the home. |  |  |  |
| Clothes dryer lint filter and vent pipe are clean. |  |  |  |
| Small appliances are unplugged when not in use. |  |  |  |
| Kitchen hood vent is clean and maintained. |  |  |  |
| **HEATING** |  |  |  |
| Combustibles are removed from heating areas. |  |  |  |
| Combustibles are kept 1m (3 feet) away from space heaters. |  |  |  |
| Furnace is inspected and cleaned annually. |  |  |  |
| Clearances are maintained between heating equipment and combustible materials and/or construction. |  |  |  |
| Furnace filters are clean and in good shape. |  |  |  |
| Heating ducts are properly maintained. |  |  |  |
| Wood heating appliance is a certified appliance. |  |  |  |
| Chimney is inspected and cleaned annually. |  |  |  |
| Chimney has a spark arrestor installed. |  |  |  |
| Ashes are disposed of in a metal container. |  |  |  |
| **ELECTRICAL** |  |  |  |
| Extension cords are being used in a proper manner. |  |  |  |
| Electrical equipment and wiring are maintained in good condition. |  |  |  |
| There are **no** visible bare or exposed wires. |  |  |  |
| There is **no** visible overloading of electrical circuits. |  |  |  |
| Switches and receptacles are in good condition. (including faceplates) |  |  |  |
| Electrical panels are accessible, covered and labeled. |  |  |  |
| Kitchen has GFCI outlets within 6 feet of running water outlet and they are working properly. |  |  |  |
| Bathrooms have GFCI outlets within 6 feet of running water outlets and they are working properly. |  |  |  |

|  |  |  |  |
| --- | --- | --- | --- |
| **EXTERIOR** |  |  |  |
| House numbers are visible from the street. |  |  |  |
| Paths of travel and exits are maintained free of obstructions. |  |  |  |
| There is a solid door located between attached garage and house. |  |  |  |
| Outside electrical receptacles are GFCI and in good working condition. |  |  |  |
| There is no accumulation of rubbish, trash, tree trimmings on the property. |  |  |  |
| Grass is cut around the home. |  |  |  |
| Fire wood is stored away from the home. |  |  |  |
| Barbecue grill is only used outdoors. |  |  |  |
| Combustible and flammable liquids are stored in approved containers. |  |  |  |

|  |
| --- |
| **COMMENTS** |

|  |
| --- |
|  |
|  |
|  |
|  |
|  |